Power Extension Cable

PDS-CAB-PWCEXT-14

| Feature |  |
| --- | --- |
| Wire End Rating | NEMA TYPE 3, 4 |
| Wire End Hazardous Area Rating | Class I, Divisions 1 & 2, Groups B, C, D Class I, Zones 1 & 2, Groups IIB + H², IIA Class II, Divisions 1 & 2, Groups F, G Class III |
| Wire End Connection Rating | 15 Amp 125VAC |
| Length | 100 ft / 30.48 m 300ft / 91.44 m |
| Cable Type | 14 AWG-3C Portable Cord SOOW 600V -40C to +90C, CPE Jkt UL, CSA, MSHA |
| Product Variants |  |
| PDS-CAB-PWCEXT-14-100 – Power extension cable, 100-foot |  |
| PDS-CAB-PWCEXT-14-300 – Power extension cable, 300-foot |  |
| Related Products |  |
| XPL-R5 – Explosion-Proof Light |  |

The cable certified for portable use in hazardous locations where flammable gases, liquids, vapors, combustible dusts, or fibers are present; this durable cable provides extended power to your needs reliably in wet, corrosive, and hazardous areas, both indoors and outdoors.